**Attachment C**

**Masters Electrical Services Corporation**

**Flammable and Combustible Material Checklist**

Use this checklist to evaluate **Masters Electrical Services Corporation’s** compliance with OSHA's standards on flammable and combustible materials:

|  |  |
| --- | --- |
| ☐Yes ☐No | Are combustible scrap, debris, and waste materials, such as oily rags, stored in covered metal receptacles and removed from the worksite promptly? |
| ☐Yes ☐No | Are approved containers and tanks used to store and handle flammable and combustible liquids? |
| ☐Yes ☐No | Are all connections tight on drums and combustible liquid piping, vapor, and liquid? |
| ☐Yes ☐No | Are all flammable liquids kept in closed containers when not in use? |
| ☐Yes ☐No | Are metal drums of flammable liquids electrically grounded during dispensing? |
| ☐Yes ☐No | Do storage rooms for flammable and combustible liquids have appropriate ventilation systems? |
| ☐Yes ☐No | Are NO SMOKING signs posted on liquefied petroleum gas tanks? |
| ☐Yes ☐No | Are all solvent wastes and flammable liquids kept in fire-resistant, covered containers until they are removed from the worksite? |
| ☐Yes ☐No | Is combustible dust vacuumed rather than blown or swept whenever possible? |
| ☐Yes ☐No | Are fuel gas cylinders and oxygen cylinders separated by distances or fire-resistant barriers while in storage? |
| ☐Yes ☐No | Are fire extinguishers appropriate for the materials in the areas they are mounted?\* |
| ☐Yes ☐No | Are appropriate fire extinguishers mounted within 75 feet of outside areas containing flammable liquids and within 10 feet of any inside storage area for such materials?\* |
| ☐Yes ☐No | Are extinguishers free from obstruction or blockage?\* |
| ☐Yes ☐No | Are all extinguishers serviced, maintained, and tagged at least once a year?\* |
| ☐Yes ☐No | Are all extinguishers fully charged and in their designated places?\* |
| ☐Yes ☐No | Where sprinkler systems are permanently installed, are the nozzle heads directed or arranged so that water will not be sprayed into operating electrical switchboards and equipment? |
| ☐Yes ☐No | Are NO SMOKING signs posted in areas where flammable or combustible materials are used or stored? |
| ☐Yes ☐No | Are safety cans utilized for dispensing flammable or combustible liquids available at the point they would be used? |
| ☐Yes ☐No | Are all spills of flammable or combustible liquids cleaned up promptly? |
| ☐Yes ☐No | Are storage tanks adequately vented to prevent development of an excessive vacuum or pressure that could result from filling, emptying, or temperature changes? |

\*(NOTE: Use of fire extinguishers is based on company policy regarding employee firefighting in your Emergency Action Plan and local fire code.)

Completed by: Date: